North Lincolnshire Council

Daily Event Analysis

15th January 2011

# Overview

The Low Santon TEOM measured a daily mean PM10 concentration of 50.2µg/m3 on Saturday 15th January 2011 exceeding the allowed 50µg/m3 as a daily mean. The Dawes Lane Coke Oven (DLCO) Osiris measured a daily mean concentration of 42µg/m3.

A check of the data has revealed elevated concentrations of PM10 between 08:45 and 15:45 at the Low Santon TEOM. During this period the Low Santon TEOM measured a mean concentration of 70µg/m3 and the DLCO 33µg/m3.

Met Conditions

Consistent South Westerly winds were recorded throughout the day. The wind within the 3 hour 30 minute period of focus ranged between 199° and 226°. Wind speeds averaged at 4 m/s for the day.

Episode Wind Range

# Potential Sources

The above map shows the Low Santon TEOM (indicated by the red lines) and the DLCO Osiris (indicated by the green). As only the Low Santon TEOM measured consistently higher concentrations during this period, it is likely that they were affected by a different source. Therefore, the area within the red lines is likely to contain the source.

The likely areas include;

- Redbourn site

- Slag haul road

- Intermediate site